PYPIT for WMKO (v3)
J. Xavier Prochaska (UC Santa Cruz; UCO)
R. Cooke (Durham)

---
PYPIT at WMKO
- Construct a flexible, modern platform for automated reduction of all WMKO spectrographs
  - With the potential to include imaging cameras
- Automate throughput monitoring
  - With updates to Exposure Time Calculators
- Codify and adopt best practices for calibration acquisition
  - Enhance the archive
- Enable Science

---
PYPIT: Philosophy
- IDL → PYPIT (command-line interpreter essential)
  - IDL could vanish any day (whim of Harris geospatial)
  - Python continues to develop (now at 3.6)
- Fully public development and usage
  - Github: https://github.com/PYPIT/PYPIT
  - Including unit tests and development suite (~80% coverage)
  - Minimal but valuable dependencies (numpy, astropy)
  - Adopt and follow astropy-affiliate guidelines
- Fully automated and generalized
  - Builds on 17+ years of algorithm development in IDL
- Science driven

---
PYPIT v0.2 (released)
- Algorithm
  - Parse data files from archive
  - Generate PYPIT scripts
  - Slit identification
  - Wavelength solutions
  - Object identification
  - Sky subtract
  - Extraction
  - Fluxing
  - Coadding
- LRIS
  - Blue and red cameras
  - Most grisms/gratings
  - Limited multi-slit testing
- Lick/Kast
- WHT/ISIS

---
PYPIT QA
PYPIT performs automated wavelength calibration

---
PYPIT QA
PYPIT traces tilted arc-lines with Principal Component Analysis

---
PYPIT QA
PYPIT corrects for instrument flexure using sky lines

---
PYPIT QA
Processed
Raw

---
PYPIT: Next Generation Algorithms
- Wavelength solution
  - New holy grail algorithm: https://github.com/PYPIT/arclines
  - Machine learning approach is underway
- Image identification
  - Neural network algorithm
  - Ideal for archival slurping (e.g. without log sheets or headers!)
  - More training sets needed..
- Multi-core processing
- Pixel level reductions for high-precision analysis (echelle)

---
PYPIT: Future Releases
- v1.0 (April 2017)
  - APF/Levy
  - Keck/HIRES
  - Keck/DEIMOS
- v2.0 (Summer 2017)
  - NIRSPEC, ESI, MOSFIRE
- v3.0 (Winter 2018)
  - KCWI, NIRES

---
PYPIT: Working with WMKO
- Interface to KOA
  - Seamless integration
  - Produce Level 1 data products
- Monitor instrument throughput
  - ETC integration
- Enable calibration archiving
  - And more formalized calibration taking
- Perform quick reductions at WMKO
- Generalize parts of PYPIT for imaging cameras??

---
PYPIT: UCO
- JXP
  - Commit UCO service to PYPIT support + development
  - Negotiated with UCO Director
- UCO
  - Director strongly supports DRP development
  - Will commit at least 0.5 FTE
- External
  - Soliciting funds from NSF opportunities
  - Funding astronomers at UC to co-develop

---
PYPIT at WMKO
- Construct a flexible, modern platform for automated reduction of all WMKO spectrographs
  - With the potential to include imaging cameras
- Automate throughput monitoring
  - With updates to Exposure Time Calculators
- Codify and adopt best practices for calibration acquisition
  - Enhance the archive
- Enable Science