PYPIT at UCSC
J. Xavier Prochaska (UC Santa Cruz; UCO)
R. Cooke (Durham)

---
PYPIT: What?
- A flexible, modern platform for automated reduction of any ground-based spectrograph
  - Kast, LRIS, DEIMOS, MOSFIRE, etc.
- Python
  - Modern algorithms for data reduction
  - With Cython speed-ups
- QA, standard data products, documentation
  - Plenty more to come

---
PYPIT v0.2 (released)
- Algorithm
  - Parse data files from archive
  - Generate PYPIT scripts
  - Slit identification
  - Wavelength solutions
  - Object identification
  - Sky subtract
  - Extraction
  - Fluxing
  - Coadding
- LRIS
  - Blue and red cameras
  - Most grisms/gratings
  - Limited multi-slit testing
- Lick/Kast
  - Both cameras; most gratings
- WHT/ISIS

---
PYPIT QA
PYPIT performs automated wavelength calibration

---
PYPIT QA
PYPIT traces tilted arc-lines with Principal Component Analysis

---
PYPIT Output
Processed
Raw

---
PYPIT: Next Generation Algorithms
- Wavelength solution
  - New holy grail algorithm: https://github.com/PYPIT/arclines
  - Machine learning approach is underway
- Image identification
  - Neural network algorithm
  - Ideal for archival slurping (e.g. without log sheets or headers!)
  - More training sets needed..
- Multi-core processing
- Pixel level reductions for high-precision analysis (echelle)

---
PYPIT: Why?
- IDL → PYPIT (command-line interpreter essential)
  - IDL could vanish any day (whim of Harris geospatial)
  - Python continues to develop (now at 3.6)
- No other existing Python DRP for the majority of grounds-based instruments
  - MOSFIRE one is flawed
- Fully automated and generalized
  - Builds on 17+ years of algorithm development in IDL
- Science driven

---
PYPIT: How?
- Github development (public)
  - https://github.com/PYPIT/PYPIT
  - Including unit tests and development suite (~80% coverage)
  - Minimal but valuable dependencies (numpy, astropy)
  - Adopt and follow astropy-affiliate guidelines
- Currently relying on the community
  - Professional FTEs may be on the way!
  - But astronomers will always be essential to development

---
PYPIT: Where?
- Github
  - https://github.com/PYPIT/PYPIT
- UCSC is the focal point
  - WMKO may get engaged
  - UCO too
  - And we have a strong outpost at Durham University (Ryan Cooke)

---
PYPIT: When?
- Now
  - Code development has accelerated over the past year
  - JXP is driven to get Keck/LRIS data out
  - Ryan is driven to get APF and HIRES solutions in place
- Then
  - Development will continue

---
PYPIT: Future Releases
- v1.0 (April 2017)
  - APF/Levy
  - Keck/HIRES
  - Keck/DEIMOS
- v2.0 (Summer 2017)
  - NIRSPEC, ESI, MOSFIRE
- v3.0 (Winter 2018)
  - KCWI, NIRES

---
PYPIT: Who?
- Us
  - JXP
  - Tiffany
  - Asher
  - Alexa
- Them
  - Ryan
  - Joe Hennawi (soon)
- You?

---
PYPIT QA
PYPIT corrects for instrument flexure using sky lines